## Header P25
| 4D | No
Site Code | George Washington Univ. Hosp | Yes
Site Name | Fletcher Johnson
Address | Georgetown Univ. Hosp.
City | One Judiciary Sq.
State | Reeves Ctr.
Zip Code | Rhode Island
Estimated time of completion | Sibley Hospital
St. Elizabeth's Hospital
Project Contact Name | UDC Bldg. 41
Company:
Tel:
Email
Location of Equipment (Room Number/Floor)
Donor Site
BDA Equipment Brand & Model
DAS Equipment Brand & Model
Number of Remote Units
Is there a commercial DAS Radio System?
Is there another private DAS Radio System (building management/security)?

## CheckList P25
Site Code
Site Name | 0
Address | 0
| Item | Check | Document | The vendor shall
| Site address |  | Header tab | Provide that information in the "Header P25" tab
| Project PM contact info |  | Header tab | Provide that information in the "Header P25" tab
| Lead Installer/Integrator BDA vendor certificate |  | pdf | Attach a pdf file as evidence of that certificate
| Lead Installer/Integrator DAS vendor certificate |  | pdf | Attach a pdf file as evidence of that certificate
| Construction permit |  | pdf | Attach a pdf file as evidence of that permit
| Donor site(s) identified |  | Header Tab | Provide that information in the "Header P25" tab
| Location of equipment (room number) |  | Header tab | Provide that information in the "Header P25" tab
| BDA Equipment Brand & Model |  | Header tab | Provide that information in the "Header P25" tab
| DAS Equipment Brand & Model |  | Header tab | Provide that information in the "Header P25" tab
| Number of Remote Units |  | Header tab | Provide that information in the "Header P25" tab
| Pre-existing coverage test (if applicable) |  | pdf | Attach a pdf file as evidence of that coverage. The coverage color code shall be the following with solid, not graduated transitions: >-65 dBm red >-75 dBm yellow >-85 dBm green >-90 dBm light blue >-95 dBm dark blue >-100 dBm grey <-100 white
| Battery Back up calculations |  | Word/Excel | Attach a file showing the relevant calculations for the selected battery backup configuration
| Affidavit Battery Emergency generator-when installed |  | Word/Excel | Attach a file
| OUC Uplink Evaluation Spreadsheet (attached to tech rqts) |  | Excel | Attached for to update with project specifics
| Link budgets downlink |  | Excel | Attach a file with the relevant information
| Network Layout with labeling (Riser diagram): |  | pdf | Attach pdf file showing the design
| Exportable network design |  | ibwc/ibx | ibwc for aibwave, ibx for RANPLAN
| Floor Plans |  | pdf | Attach a file with the relevant information including: - the location of donor anatenna - the name of donor site -the location of the distribution antennas - a ruler that allows to obtain a scale of the floorplan for each floor - the cable path
| Coverage maps (1 for each floor) |  | pdf | Attach a pdf file as evidence of that coverage. The downlink coverage plots shall show coverage for one channel assuming 10 channels transmitting on each band. The coverage color code shall be the following with solid, not graduated transitions: >-65 dBm red >-75 dBm yellow >-85 dBm green >-90 dBm light blue >-95 dBm dark blue >-100 dBm grey <-100 white
| BOM |  | Excel/Word/pdf | Attach file with the relevant information
Equipment Specifications Documentation
| Donor antenna |  | pdf | Provide the spec sheets and selected configuration if applies
| Surge protector |  | pdf | Provide the spec sheets and selected configuration if applies
| Splitters/couplers |  | pdf | Provide the spec sheets and selected configuration if applies
| RF cables |  | pdf | Provide the spec sheets and selected configuration if applies
| BDA |  | pdf | Provide the spec sheets and selected configuration if applies
| Fiber Head end (if applicable) |  | pdf | Provide the spec sheets and selected configuration if applies
| Fiber remote (if applicable) |  | pdf | Provide the spec sheets and selected configuration if applies
| DAS antenna |  | pdf | Provide the spec sheets and selected configuration if applies
| Batteries |  | pdf | Provide the spec sheets and selected configuration if applies
| Are there commercial BDA installed? |  | Header | If yes detail
| Are there private BDA installed? (building mgt or security) |  | Header | If yes detail
| Intermod calculations (if other radio system) |  | pdf | Attach a file showing the relevant calculations
| Local shutdown solution |  | Pdf/Word | Provide detailed solution
| IP connectivity solution description |  | Pdf/Word | Provide detailed solution
| IP connectivity commitment letter |  | Pdf/Word | Provide letter