## Header
Test Date: |  | OUC | 4D | PASS
Site Code & Name: |  | Motorola | George Washington Univ. Hosp | FAIL
|  | Wireless Communications | Fletcher Johnson
Building Manager contact info: | Integrator contact info: |  | Georgetown Univ. Hosp.
Company: | Company: |  | One Judiciary Sq.
Tel: | Tel: |  | Reeves Ctr.
Email: | Email: |  | Rhode Island
St. Elizabeth's Hospital
Emergency Contact info | OUC rep. technical Name |  | UDC Bldg. 41
Company: | Company:
Tel: | Tel:
Email: | Email:
BDA | Fiber DAS
BDA located in room: | Fiber DAS located in room
Donor Site Name | Number of remotes
BDA Brand/Model Number | Fiber DAS Brand/Model Number
IP address
Logging Name
Password

## P25-Prerequisites
Date | 0
Site | 0
PRE-TESTING | Required | PASS | FAIL | Value | Comment (include what failed/passed)
Emergency contact information
Building Manager contact information
As built drawings
System & antennas layout
Identification of remote units
Coverage maps
DL Link budget
UL Link Budget
IP address: commitment letter
Username
Password
Downlink signal received at BDA input
Exact lat-long of donor antenna
Antenna and cable sweep testing results
PIM Testing results (if applicable)
BDA uplink input noise measurement (over a 15 mn period)
Site completion |  |  |  |  | Explain here what part of the building is completed
DAS installation completion |  |  |  |  | Explain here what part of the building the DAS is installed in
Description of testing area |  |  |  |  | Explain here what part of the building is occupied and what will be approved
Note on E3: GuyJouannelle: Fill in highlighted cells