## Header P25
Test Date: | Result | 4D | PASS
Site Code & Name: |  | George Washington Univ. Hosp | FAIL
Fletcher Johnson
Building Manager contact info: | Building rep.technical contact info: | Georgetown Univ. Hosp.
Tel: | Company: | One Judiciary Sq.
Company: | Tel: | Reeves Ctr.
Address: | Email: | Rhode Island
City, State Zipcode |  | St. Elizabeth's Hospital
Email: | OUC rep. technical Name | UDC Bldg. 41
Company:
Emergency Contact info | Tel:
Company: | Email:
Tel:
Email: | Fiber DAS HeadEnd located in room
Number of remotes
BDA located in room: | Fiber DAS Brand/Model Number
BDA Brand/Model Number | FiberDAS HeadEnd UL Received signal
IP address | FiberDAS HeadEnd DL Received signal
UserName
Password | Donor Site Name
Host Site Noise Reference Level
BDA Uplink Gain | Path Loss (dB)
BDA Downlink Gain | BDA UL Output noise
BDA Uplink Squelch Threshold | Noise Contribution to host site
Isolation | Max signal received at donor site
Min signal received at donor site
Description of building readiness & other comments as necessary

## Check List P25
Date |  |  | R | 0
Site |  | 0
TESTING | Reference in ATP requirements doc | Required | PASS | FAIL | Value | Comment (include what failed/passed)
Head End Room
Grounding | Section 4.4
NEMA4-Type Enclosure BDA | Section 4.4
NEMA4-Type Enclosure Fiber DAS Headend | Section 4.4
NEMA4-Type Enclosure Batteries | Section 4.4
Labeling (cables, antennas, Remotes) | Section 4.4
Enclosure signage | Section 4.4
Rooftop
Antenna | Section 4.4
Grounding | Section 4.4
Surge Arrestor | Section 4.4
Top 3 UL Sites
Top 3 UL RSSI
Donor Site | Section 4.4
Bda pathloss
Path Loss(unpadded) | Section 4.7-A
Control Channel DL RSSI
BDA/Headend Battery/Alarming
Battery Verification | Section 4.4
Battery Back up Test | Section 4.4
Local shut down test
Alarms | Section 4.4
Remote access to BDA | Section 4.3
BDA Check
29 Frequencies programmed (UL & DL) | Section 4.5
Channels 12.5 kHz wide | Section 4.5
Spectrum scan check | Section 4.5 |  |  |  |  | Attach screen capture
Level check across band | Section 4.5
Uplink gain adjustment
Host noise measurement | Section 4.6-1
Near Signal measurement @ BDA Input
BDA Coverage pad UL/DL
Active DAS coverage pads entered on DAS Tab
Near Signalmeasurement @ host after adjustment | Section 4.6-3
Lowest signal measurement @ host after adjustment | Section 4.6-3
UL Gain | Section 4.6-3
DL Gain | Section 4.6-3
Near-Far Test | Section 4.6-4
Noise measurement out of BDA | Section 4.7-B
Donor Hard Pad
Uplink Noise contribution evaluation | Section 4.7-B
Squelch adjustment
Uplink DAS noise measurement | Section 4.8
Squelch Threshold | Section 4.8
Isolation Test | Section 4.9
Update of link Budget UL completed
Update link Budget DL completed
Frequencies availability verification (BDA or Remotes Tab | Section 4.10
Commercial DAS interference check (if applicable) | Section 4.11
Private LMR radio system interference check (if applicable) | Section 4.11
Audio Test results (DAQ 3.4) | Section 4.12
Coverage Test plot and statistics (-95 dBm) | Section 4.13
Remote access to monitoring | Section 4.3
DAS Antennas RSSI measurements baseline (Remotes check tab) | Section 4.13
Note on F4: GuyJouannelle: Fill in highlighted cells

## Remotes Check P25
Date:
Site:
Number of Remotes:
[7 empty] | Frequencies | [29 empty] | OK
|  | Remotes | Room Location | Labeling | Battery battery Check | Battery function Check | Channel 1 | Channel 2 | Channel 3 | Channel 4 | Channel 5 | Channel 6 | Channel 7 | Channel 8 | Channel 9 | Channel 10 | Channel 11 | Channel 12 | Channel 13 | Channel 14 | Channel 15 | Channel 16 | Channel 17 | Channel 18 | Channel 19 | Channel 20 | Channel 21 | Channel 22 | Channel 23 | Channel 24 | Channel 25 | Channel 26 | Channel 27 | Channel 28 | Channel 29 | Hot Link Level | KO | Attenuation Added | Hotlink after attenuation
1 | 0 |  |  | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK
2 | 0
3 | 0
4 | 0
5 | 0
6 | 0
7 | 0
8 | 0
9 | 0
10 | 0
11 | 0
12 | 0
13 | 0
14 | 0
15 | 0
16 | 0
17 | 0
18 | 0
19 | 0
20 | 0
21 | 0
22 | 0
23 | 0
24 | 0
25 | 0
26 | 0
27 | 0

## Coverage Baseline P25
Date:
Site:
| Fringe areas: | Those are elevators lobbies, exist stairs, exit path ways, emergency and standby power rooms, and any location the testing sowed the coverage was the weakest.
| Area ID | Name | RSSI | Location description
ANTENNA BASELINE REFERENCE LEVELS
fail
| Floor 13 |  |  | Floor 12 |  |  | Floor 11 |  |  | Floor 10
| Floor 9 |  |  | Floor 8 |  |  | Floor 7 |  |  | Floor 6
| Active. # | Ant. Label | RSSI | Active. # | Ant. Label | RSSI | Active. # | Ant. Label | RSSI | Active. # | Ant. Label | RSSI
| Floor 5 |  |  | Floor 4 |  |  | Floor 3 |  |  | Floor 2
| Active. # | Ant. Label | RSSI | Active. # | Ant. Label | RSSI | Active. # | Ant. Label | RSSI | Active. # | Ant. Label | RSSI
| Floor 1 |  |  | Floor B1 |  |  | Floor B2
| Active. # | Ant. Label | RSSI | Active. # | Ant. Label | RSSI | Active. # | Ant. Label | RSSI